## Occu-Calc
OCCU-SMART SAVINGS CALCULATOR
SIMPLY ENTER THE VARIABLES IN THE SPACES BELOW
HOURS/DAY LIGHTS ARE ON | 24 |  | WATTAGE TABLE - FULL WATTAGE (SENSORED WATTAGE)
HOURS PER DAY SPACE IS OCCUPIED | 1.5 |  |  |  | LIGHTING OPTION
(Note: Average Stairwells are Occupied less than 5% per 24 hr Day (1.2 hrs.))
[5 empty] | 2C | FO | AS (10%) | AS (30%)
ENERGY RATE kWh ($) | 0.2 |  | VOL/C2L 2' | LOW OUTPUT | 12 | 15 | 15 | 15
[5 empty] | 6 | 0 | 4 | 5
TOTAL WATTAGE OF EXISTING SYSTEM (1 FIXTURE) | 59
|  |  |  | MED OUTPUT | 17 | 23 | 23 | 23
TOTAL WATTAGE OF PROPOSED SYSTEM (1 FIXTURE - FULL LIGHT) | 14 |  |  |  | 8.5 | 0 | 5 | 8
TOTAL STANDBY WATTAGE (1 FIXTURE) | 3 | S |  | HIGH OUTPUT | 29 | 28 | 29 | 29
|  | E |  |  | 14.5 | 0 | 6 | 9
TOTAL NUMBER FIXTURES (EXISTING SYSTEM) | 1 | R
TOTAL NUMBER FIXTURES (PROPOSED LAMAR OCCU-SMART SYSTEM) | 1 | I | VOL/C2L 4' | LOW OUTPUT | 24 | 24 | 24 | 24
|  | E |  |  | 12 | 0 | 8 | 10
NEW FIXTURE COST (1 FIXTURE) | 185 | S
|  |  |  | MED OUTPUT | 34 | 34 | 34 | 34
APPLICABLE REBATE (PER FIXTURE) | 75 |  |  |  | 17 | 0 | 10 | 16
COST PER WATT PER YEAR | 1.752 |  |  | HIGH OUTPUT | 48 | 48 | 49 | 49
[5 empty] | 24 | 0 | 12 | 18
ANNUAL COST TO OPERATE EXISTING SYSTEM (PER FIXTURE) | 103.368
TOTAL ANNUAL COST TO OPERATE EXISTING SYSTEM | 103.368
ANNUAL COST TO OPERATE LAMAR OCCU-SMART SYSTEM (1 FIXTURE-FULL OUTPUT) | 24.528
TOTAL ANNUAL COST TO OPERATE LAMAR OCCU-SMART SYSTEM (FULL OUTPUT) | 24.528
ANNUAL COST TO OPERATE 1 FIXTURE (BASED UPON OCCUPANCY) | 6.4605
TOTAL ANNUAL COST TO OPERATE OCCUSMART SYSTEM (BASED UPON OCCUPANCY) | 6.4605
ANNUAL SAVINGS PER FIXTURE (0% OCCUPANCY- REDUCED OUTPUT) | 19.272
ANNUAL SAVINGS PER FIXTURE (BASED UPON OCCUPANCY) | 18.0675
TOTAL ANNUAL SAVINGS (BASED UPON OCCUPANCY) | 96.9075
PAYBACK (YEARS) BASED UPON OCCUPANCY | 1.1351
PAYBACK EXPRESSED IN RETURN ON INVESTMENT | 88.1%
1050 MOTOR PKWY, CENTRAL ISLIP, NY 11722
631-777-7700
LAMAR LED